- Outside Diameter of Roof Curb

- Motor – Horsepower

- Voltage/Phase

- Is it for a Kitchen?

If it is for a Kitchen there is only one fan to use:

TXB

Things needed for a Kitchen fan:

- ANEMA Disconnect (Standard)

- Hinge Kit

- Grease Trap

- Restaurant Curb

**Never give damper with a kitchen fan**

If it’s not a kitchen fan, use DB for standard roof exhaust.

One thing to remember:

You can slow fans down, but you can’t speed them up.  Always go a little bigger.

Standard – ODP (Open Drip Proof).

If you need help sizing a fan for a warehouse or something, you need:

Length

Width

Height

The size and number of openings.

A general sketch of building.

Do they want fans of roof or wall?